AIR FORCE MEDICAL SERVICE

CONCEPT OF OPERATIONS

FOR THE

BIOMEDICAL EQUIPMENT REPAIR

AUGMENTATION TEAM

(UTC  FFBMT)

Prepared by:	DANIEL L. KING, CMSgt, USAF

Reviewed by:	JOHN M. DOWNS, Lt Col, USAF, MSC

Chief, Medical Readiness Division

Submitted by:  JACQUELINE MORGAN

Colonel, USAF, MC, FS

Command Surgeon/Director of Medical Services and Training

Approved by:	CHARLES H. ROADMAN II

Lieutenant General, USAF, MC

Surgeon General

26 May 98

OPR:	HQ AETC/SGX				Classification Authority:  Unclassified

Randolph AFB, TX				Declassification Instructions:  None

TABLE OF CONTENTS

SECTION 1 - GENERAL									3

SECTION 2 - DESCRIPTION								3

SECTION 3 - OPERATIONS								3

SECTION 4 - COMMAND AND CONTROL						4

SECTION 5 - INTELLIGENCE/NATIONAL AGENCY/SPACE SUPPORT		4

SECTION 6 - COMMUNICATIONS/COMPUTER SYSTEM SUPPORT		4

SECTION 7 - INTEGRATION & OPERABILITY					4

SECTION 8 - SECURITY									4

SECTION 9 - TRAINING									5

SECTION 10 - LOGISTICS								5

GLOSSARY OF TERMS									5

SECTION 1 - GENERAL.

1.1.  Purpose:  This document provides the concept of operations for the Biomedical Equipment Repair Manpower Augmentation Team (FFBMT).  It furnishes generic guidance for the development and employment of FFBMT teams to support the build up of Air Force Theater Hospitals (AFTH) and Air Transportable Hospitals (ATH) that have been augmented by additional specialty capability.  These teams provide additional maintenance capability.

1.2.  Background:  The AFTH and ATH are the major medical assets that support AFMS operations.  The Air Force Medical Service concept of utilizing modular building blocks to tailor these assets to specific missions has created the need for additional maintenance support that can also be employed incrementally.  The FFBMT is designed to work in conjunction with existing biomedical support to provide sufficient manpower to manage biomedical maintenance and facility management requirements.

SECTION 2 - DESCRIPTION.

2.1.  Mission/Tasks:  The primary mission of the FFBMT is to provide biomedical equipment maintenance and  facility management support to AFTH and ATHs which have had increased equipment capability added.  This mission can be accomplished in both war and Smaller Scale Contingency Operations (SSCOs).  This team can also be utilized to provide additional biomedical maintenance support to fixed USAF Medical Treatment Facilities that have increased their operations tempo in support of any contingency, bed expansion, natural disaster response, etc.

2.2.  Description/Capabilities:  FFBMT has the ability to rapidly deploy to support medical operations worldwide.  The team does not deploy with equipment.  An active medical logistics FM account with Medical Logistics (MEDLOG) computer support should already be established at the location of employment.  The team provides additional manpower for biomedical maintenance support at USAF contingency and fixed MTFs.

SECTION 3 - OPERATIONS.

3.1.  Employment (Scenarios):  FFBMT will deploy to one of three scenarios:

3.1.1. Fixed AFTH:  Multiple FFBMT teams will be tasked to provide biomedical engineering manpower.  These operations will be very similar to the operations at a fixed MTF.  These facilities will have pre-established concepts of operation that will specify the number of FFBMT teams required to provide support.

3.1.2.  Transportable AFTH:  These facilities are based on a core ATH which has numerous UTCs added to increase quantity and scope of care available.  As additional UTCs are added to this facility, the need for additional FFBMT teams must be considered.  As a reference guide, there is the equivalent of one FFBMT team in the 50 bed ATH and 2 FFBMT teams in the 500 bed AFTH.

3.1.3.  Hospital Expansion:  In the event a fixed MTF has to respond to a contingency in place FFBMT teams can be deployed to assist with the increased biomedical maintenance requirements.  This should be considered when a bed expansion program or additional specialty UTC are employed.

SECTION 4 - COMMAND AND CONTROL.

The FFBMT team will report to the Chief, Medical Logistics Flight at a fixed facility, the senior 4A2X1 assigned to the command and control UTC of the AFTH, or the NCOIC Biomedical Maintenance in an expanded ATH.

SECTION 5 - INTELLIGENCE/NATIONAL AGENCY/SPACE SUPPORT.

FFBMT will rely on the fixed MTF or AFTH for this support.

SECTION 6 - COMMUNICATIONS/COMPUTER SYSTEMS SUPPORT.

FFBMT does not deploy with communications or computer support.  However, it should only be deployed to locations where there is an operational MEDLOG or Mobile MEDLOG (MOMEDLOG) computer system.

SECTION 7 - INTEGRATION & OPERABILITY.

7.1.  Integration with other Systems:  FFBMT must integrate with a host medical logistics FM account to support any and all USAF medical assets.  In addition, integration through the host account with USAF supporting contracting, finance, transportation, services, fuels, power production, and civil engineering units is required.

7.2.  Interoperability:  Deployed medical logistics units will usually receive their sustainment support from the Single Integrated Medical Logistics Manager (SIMLM) This is usually an Army Field Logistics Unit.

SECTION 8 - SECURITY.

8.1.  Personnel:  Personnel security for deployed FFBMT members will be provided by the host MTF and security forces.  FFBMT team members will follow protocols established by the gaining commander.

8.2.  Property:  Property of the government under the control of the supported unit and FFBMT team shall be managed in accordance with AFMAN 23-110, Volume 5.

SECTION 9 - TRAINING.

Medical logistics operates in war time as it does in peace.  FFBMT teams will already be familiar with their basic responsibilities.  FFBMT members will require training on mobility related issues, BW/CW, weapons, etc.  In addition, training will be required on overall ATH operations.

SECTION 10 - LOGISTICS.

The FFBMT team does not require any unit gear.  They deploy to locations that already have communication, computer, materiel handling equipment, tools, and electronic test equipment available.

GLOSSARY OF TERMS

AFTH - Air Force Theater Hospital

ATH - Air Transportable Hospital

BW/CW - Biological/Chemical Warfare

FM - Air Force Medical Supply Account with DoD

MEDLOG - Medical Logistics Computer System

MOMEDLOG - Mobile MEDLOG

MTF - Medical Treatment Facility

SIMLM - Single Integrated Medical Logistics Manager

SSCO - Smaller Scale Contingency Operation

UTC - Unit Type Code