AIR FORCE MEDICAL SERVICE

(AFMS)

CONCEPT OF OPERATIONS

FOR THE

Computed Tomography SCAN TEAM

(FFHA4)

Prepared by:	CARL M. BLACK, Maj, USAF, MC

Chief, Vascular/Interventional and Neuroradiology

74 MDG/SGSX

Reviewed by:	GERT M. BAILES, Maj, USAF, MSC

Chief, Force Plans and Health Care Analysis

Office of the Command Surgeon

Submitted by:	GARY H. MURRAY

## Colonel, USAF, DC

Command Surgeon

Approved by:	CHARLES H. ROADMAN II

Lieutenant General, USAF, MC

Surgeon General

1 Oct 99

OPR:  HQ AFMC/SGAM					 Classification Authority: Unclassified

Wright-Patterson AFB, OH				 Declass Instructions:  None

TABLE OF CONTENTS

SUBJECT                                                                                    	                        PAGE

EXECUTIVE SUMMARY							3

SECTION 1 - GENERAL									5

1.1.  Purpose: 											5

1.2.  Background: 										5

1.3.  Threat:											5

SECTION 2 - DESCRIPTION								5

2.1.  Mission/Tasks:										5

2.2.  FFHA4 Capabilities/Team and Equipment Description:			5

SECTION 3 - OPERATIONS								6

3.1.  Employment:										6

3.2.  Deployment/Redeployment:							7

SECTION 4 -COMMAND & CONTROL RELATIONSHIPS STRUCTURE	7

SECTION 5-INTELLIGENCE/NATIONAL AGENCY/SPACE SUPPORT	7

SECTION 6-COMMUNICATIONS/COMPUTER SYSTEM SUPPORT		7

SECTION 7-INTEGRATION & INTEROPERABILITY				8

7.1. Integration With Other Systems/Teams:					8

7.2. Interoperability:										8

SECTION 8 - SECURITY								8

8.1. Operations:										8

8.2.  Physical:											8

8.3.  Controlled Substances								8

SECTION 9 - TRAINING									8

SECTION 10 - LOGISTICS								9

SECTION 11 - SUMMARY								9

GLOSSARY OF TERMS							10

EXECUTIVE SUMMARY

I.  GENERAL.  This document provides the Concept of Operations (CONOPS) for the Computed tomography (CT) Team (FFHA4), a supplemental asset of the Air Force Air Transportable Hospital (ATH) or Expeditionary Medical Support (EMEDS)/Air Force Theater Hospital (AFTH).  It describes the use, employment, deployment, and redeployment of the FFHA4 as a component of the ATH/EMEDS/AFTH medical system.  It focuses on pertinent aspects of capabilities, employment, and interoperability and is not intended to provide minute detail of all aspects of operations.  The FFHA4 will be deployed with an ATH/EMEDS/AFTH to boost its capability to provide essential care to meet specific medical requirements related to a mission.  It is not a stand-alone asset and requires support provided by the ATH/EMEDS/AFTH.

II.  DESCRIPTION. The main mission of the FFHA4 is to provide on-site, advanced diagnostic imaging and percutaneous, minimally invasive interventional services to patients during wartime operations, humanitarian operations and Small Scale Contingencies (SSCs).  This is a theater level asset that will generally be placed at a specialty ATH or EMEDS/AFTH.  It may also be used to augment the general imaging and interventional needs of trauma related casualties.  FFHA4 may be called on to provide 24-hour/day teleradiology consultation to smaller ATH facilities.

Manpower for FFHA4 is:

FAC	AFSC	AFSC Title			SEI	GRADE	QTY

5202	44R3	General Radiologist			O-4		1

5202	4R071	Diagnostic Imag Cfmn 		478			1

5202	4A251	Biomed Eqp Jnmn					1

Strength:  	Officer 1	Airmen 2	Total 3

This provides requirements for 12-hour-per-day coverage, six days per week.  The Biomedical Equipment Journeyman and the Diagnostic Image Craftsman should have equipment-specific training.  No provisions have been made for nursing coverage, which would then have to be provided by the ATH/EMEDS/AFTH.

III.  OPERATIONS.  Once delivered on site, the FFHA4 staff and a limited number of base support staff can set up the equipment, including the isoshelter, and be operational within 24 hours.  At a minimum, the following base support staff are needed during this set up period: forklift operator (with lift capacity of 22,000 lbs.), electrical/ground power equipment specialists, communications specialists, fuel and potable water delivery specialists, and sanitary waste system specialist.  There will be a requirement for on-going equipment support as well from the ATH/EMEDS/AFTH.

IV.  COMMAND AND CONTROL RELATIONSHIPS STRUCTURE.  The team chief, a staff radiologist, will oversee the operation of CT.  The team chief will report to the Director of Base Medical Services.

V.  INTELLIGENCE/NATIONAL AGENCY/SPACE SUPPORT.  The FFHA4 will rely on the ATH/EMEDS/AFTH for support.

VI.  COMMUNICATIONS/COMPUTER SYSTEMS SUPPORT.  The ATH/EMEDS/AFTH will provide a baseline AF communication system.  Defense Switched Network (DSN) and other communications capabilities may be required as part of expeditionary combat support  (ECS).  Computer support will be required for information processing.  Teleradiology capability is anticipated which will allow long-distance consultation between radiologists and providers at stationed at smaller, distant ATH/EMEDS/AFTHs.  The FFHA4 will help with central radiological consultation.  DICOM

compatibility is highly recommended to facilitate digital image transfer.  Angio/fluoro and CT should be digitally interfaced into a single workstation (DICOM compatible) if possible.  This interface will enhance capability of digital image transfer capability and local image archiving.

VII.  INTEGRATION & INTEROPERABILITY.  Integration of deployed assets into a theater is critical for successful operations.  ECS is required for messing and other consumables, to include:  water, fuels, billeting, latrines, showers, laundry, waste management, non-medical transportation, non-medical maintenance and logistics, and security to sustain the medical mission of the FFHA4.  The team will integrate with ancillary radiological services with complete ability to cross-cover.

IX.  SECURITY.  Although the medical community represents a passive asset, security for patients and personnel resources within the immediate area of the FFHA4 is necessary.  The host unit/wing will be required to provide security.  Medical personnel may be armed, as dictated by the current threat environment, the mission profile, and in accordance with Geneva Conventions guidelines.  While the ATH/EMEDS/AFTH and FFHA4 may provide their own site security measures within their immediate area as deemed necessary, the medics depend heavily on base security forces for major defense sustainment.  A limited quantity of controlled substances will be stored in the CT isoshelter in a locked cabinet.  This will be subject to daily accounting through pharmacy.

X.  TRAINING.  FFHA4 training, specific to the ATH/EMEDS/AFTH will cover deployed imaging and interventional operations pertinent to war-related and in some cases community illnesses and all phases of deployment/employment/redeployment.   Readiness training will be conducted according to USAF and MAJCOM directives.  Training may also be conducted in conjunction with command sponsored or local training exercises, or in conjunction with operational deployments.  Joint training is encouraged to foster relationships and enhances capabilities of each service.   Personnel assigned to mobility positions for the FFHA4 should be familiar with the operation of the ATH/EMEDS/AFTH.  Routinely scheduled FFHA4 training is recommended to occur locally at the facility responsible for its inventory, personnel and deployment readiness.  CMRT should be focused on training staff radiologists and technologists in the set-up and operation of  the CT module.  The isoshelter module should deployed at the host MTF and a semihardened shelter should be provided.  Routine scanning and maintenance should be performed to reach maximum readiness.  The shelter should be easily deployable from its semihardened state.   The FFHA4 is in a somewhat unique position, in that it can conduct realistic exercises apart from the ATH/EMEDS/AFTH as a separate unit.  The importance of local inventory, equipment assessment and training cannot be overstated.  Equipment-specific training will be required for biomedical engineering technologists (BMET) deployed with FFHA4.  Specialized training should be coordinated by contract with the equipment vendors at the time of purchase.

XI.  LOGISTICS.  The FFHA4 will deploy with sufficient supplies to be self-sufficient for 30 days when deployed as a supplement to the ATH/EMEDS/AFTH.   Supply estimates are based on a casualty model with a worst-case five days scenario, followed by a sustained action component until resupply can be established.  Approximately 10 patients/day/modality are anticipated through CT.  When the Single Integrated Logistics Manager (SIMLM) is established, resupply will be coordinated accordingly.  Service components are responsible for establishing a theater logistics and supply account system.  Vehicles and their maintenance will be acquired through local host or closest base with this capability.  Expeditionary Combat Support (ECS) will be required at every location where an ATH/EMEDS/AFTH and Computed Tomography Module is established.

XII.  SUMMARY.  The proposed Computed Tomography Team (FFHA4) will fall under the direct supervision of a staff radiologist to support an enhanced, 50 bed or greater ATH/EMEDS/AFTH.  It can deploy worldwide to support various operations by providing essential care.

SECTION 1 - GENERAL

1.1.  Purpose:  This document provides the concept of operations for FFHA4 resources.  It describes command relationships, assigns tasks, and furnishes generic guidance for the development of a FFHA4 assigned to an ATH/EMEDS/AFTH in support of operations envisioned in the Regional Operational Plans (OPLANs), exercises in which medical forces participate, and contingency/humanitarian operations.  This document is also developed to provide guidelines for:  (a) identifying and defining FFHA4 responsibilities; (b) defining the interrelationship between the ATH/EMEDS/AFTH and FFHA4; (c) ensuring adequate resources are available to support global operations associated with regional plans; (d) providing a source document for developing FFHA4 policies, standard operating procedures, and training programs; (e) and validating future FFHA4 requirements and revisions to planning and training concepts.

1.2.  Background:  The ATH has been the main deployable medical asset to support a variety of military missions, with an emphasis on treating injuries and illnesses associated with war.  In recent years the USAF has become involved in an increasing number of SCC scenarios.  These experiences have revealed that the standard ATH does not provide adequate medical and surgical support for the populations that have been encountered in these SCCs.  Various modular units representing multiple specialties are being developed to respond to this need.

1.3. Threat: The USAF responds globally to a broad range of situations requiring medical care.  The  medical threats involved can be categorized into several types.

1.3.1.  Disease Non-Battle Injury (DNBI): This threat is variable, depending on geographical location, and is determined by endemic disease, climate, and socioeconomic conditions.  Preventive medicine teams, theater epidemiology teams, proper waste management, consultation with specialists, availability of advanced treatment modalities and diagnostics, and medical information management systems are required to minimize this threat.  This type of threat will produce the majority of casualties.

1.3.2. Conventional and Exotic/Unconventional Weapons: These weapons carry the potential to inflict personal injury in the form of trauma.  Civilians may sustain the same injuries as active duty forces when they are in close proximity to the active fighting and when civilian areas are targeted.  Effectiveness of traumatic injury therapy is related to advanced diagnostic capability, use of equipment and techniques representative of the current standard of care, specialty consultation, medical information access, communication and air evacuation, and ability to process tests and data rapidly.

1.3.3.  Weapons of Mass Destruction (WMD): These weapons include nuclear, biologic, and chemical weapons.

SECTION 2 - DESCRIPTION

2.1.  Mission/Tasks:  The primary mission of the FFHA4 is to support active duty forces in wartime.  Included in this is the diagnosis and treatment of acute illnesses and injury.  The secondary mission of the FFHA4 is providing imaging and minimally invasive therapeutic support to forces and populations involved in humanitarian and other SCCs.  It can respond to mass casualties by providing specialized and unique diagnostic imaging and interventional support.

2.2.  FFHA4 Capabilities/Team and Equipment Description:

2.2.1.  The FFHA4 has the ability to rapidly deploy in conjunction with an ATH/EMEDS/AFTH to provide diagnostic imaging and interventional support to Air Force operations worldwide during contingencies.  The FFHA4 is designed to support a population of 5,000-60,000 personnel at risk for 30 days without resupply.  The FFHA4 will deploy with an enhanced, specialized ATH/EMEDS/AFTH of at least 50 beds.  The Allowance Standard (AS) is based on this assumption. On average CT can accommodate at least 10 patients/day.

2.2.2.  The capabilities of the FFHA4 will be comparable to those found in a tertiary medical center.  Advanced imaging and interventional services provided will include:

2.1.2.1. Anatomic, cross-sectional imaging of the head and neck, brain, thorax, abdomen, pelvis and extremities.

2.2.2.2.  Minimally invasive, percutaneous non-vascular intervention such as abscess drainage.

2.3.  The weight of the combined the CT components (integrated console, grantry stand, patient support, film processor, injector control and power injector) is approximately 5400 lbs.  Including a 2-in-1 isoshelter, the gross weight is greater than 13,000 lb.

2.4.  In an acute trauma setting, medical history is not always reliable or attainable.  In order to prevent potentially life-threatening contrast reactions from iodinated intravascular contrast, all intravascular contrast agents should be non-ionic.  This recommendation pertains to IVP (including intraoperative), venography and angiography.

2.5.  Teleradiology:  Digital teleradiology capability will be part of the enhanced 50 bed or greater ATH/EMEDS/AFTH.  Radiologists should be available 24 hours a day, 7 days a week to interpret images transmitted from distant, smaller ATH/EMEDS/AFTH’s.    The angio/fluoro, CT and US units should be DICOM compatible, which allows a direct digital link into the teleradiology system.

2.6.  Personnel/Manpower Requirements.  FFHA4 will be staffed with the following personnel:

FAC	AFSC	AFSC Title			SEI	GRADE	QTY

5202	44R3	General Radiologist			O-4		1

5202	4R071	Diagnostic Imag Cfmn 		478			1

5202	4A251	Biomed Eqp Jnmn					1

Strength:  	Officer 1	Airmen 2	Total 3

FFHA4 provides sufficient manpower to operate 12 hours per day, 6 days per week (including teleradiology support) with allowance for illness or periodic rest.

2.7.  Physicians will be Advanced Cardiac Life Support (ACLS) qualified.  Radiology technicians should be Emergency Medical Technician qualified, although this is not mandatory.  Radiology technicians will be skills verified in CT (SEI 478). The staffing may be adjusted to fit the needs of the specific mission.  BMET personnel assigned to FFHA4 should have specialized and manufacturer-specific training in repair and maintenance.  This level of training should be coordinated with the individual equipment vendors at the time of purchase.

SECTION 3 - OPERATIONS

3.1.  Employment:

3.1.1.  General:  The FFHA4 is designed to deploy with a 50-bed, enhanced ATH or EMEDS/AFTH.  The ATH/EMEDS/AFTH will provide inpatient facilities, pharmacy, laboratory, and basic radiology support.  It will deploy with supplies necessary to support a population of 5000-6000 patients for 30 days.  Resupply will occur through ATH/EMEDS/AFTH resupply channels.  The FFHA4 can work with the Aeromedical Evacuation System to enhance patient support until the patient is evacuated.

3.1.2. Deployment locations:  The FFHA4 is designed for global deployment in support of a variety of operations.

3.1.3.  The FFHA4 can expect to be utilized for wide variety of patients, including some dependents of U.S. citizens and the local population.

3.1.4.  Patients will be treated and stabilized within the limitations of the ATH/EMEDS/AFTH.  Critical care support, other than the initial stabilization, may not be possible.  In mass casualty situations, patients will be treated in accordance with ATH/EMEDS/AFTH protocols.

3.1.5.  During SCCs, patients will be brought to the FFHA4 via POVs, military vehicles, or under their own power.

3.1.6.  Images will be stored and filed for review throughout a patient’s ATH/EMEDS/AFTH admission.  Hard copy can be digitized for teleradiology transmission to the next facility accepting the patient in transfer.  Image data can be transferred to the next facility accepting the patient transfer.

3.1.7.  Appropriate documentation of medical care will be accomplished on all patients examined and treated by the FFHA4.  The use of standard form SF Form 600 and SF Form 558 will generally suffice.  Appropriate documentation of the number of patients and their specific diagnoses will be maintained.  For patients being evacuated, the DD Form 602 should accompany the patient to ensure proper documentation of care during transport.

3.1.8.  During SCCs,  the appropriate course of treatment must be considered with respect to the local standard of care, local customs, and expectations of the local population.  Consideration must be given to the fact that medical practices in the United States differ greatly from many areas to which the FFHA4 can deploy.  Awareness of this difference may influence the initiation or discontinuation of treatment and evacuation.

3.2.  Deployment/Redeployment.  Deployment and redeployment will be conducted according to ATH/EMEDS/AFTH protocols

SECTION 4 - COMMAND AND CONTROL RELATIONSHIP STRUCTURE

4.1. The FFHA4 will be under the leadership of the team chief, a staff radiologist.  The team chief will report to the Director of Base Medical Services or the ATH/EMEDS/AFTH commander.  The commander will determine how deployed ancillary teams will functionally report within the facility.

SECTION 5 - INTELLIGENCE/NATIONAL AGENCY/SPACE SUPPORT

5.1.  The FFHA4 will rely on the ATH/EMEDS/AFTH for this support.

SECTION 6 - COMMUNICATIONS/COMPUTER SYSTEM SUPPORT

6.1.  Computer systems to provide word processing, data base management, graphics, and local area network/wide area network (LAN/WAN) interface capability will be required.  The system will require the capacity for report management and archiving.  CD-ROM capability is desirable for access to Air Force publications and medical references.

6.2.  The FFHA4 communication needs will be supplied by the host organization, similar to the needs of the ATH/EMEDS/AFTH.  A landline is also desirable for information exchange.   Medical or casualty information can become an operations security (OPSEC) issue when linked to a particular military mission or operation.  While medical information itself is not classified, in the context of a mission, it can be protected as part of the CINC's overall OPSEC program to deny information to the enemy.

6.3.  CHCS may be configured to meet order entry and reporting needs.  A paper system will suffice when CHCS is not available.

SECTION 7 - INTEGRATION AND INTEROPERABILITY

7.1.  Integration with other systems/teams:

7.1.1.  Ancillary Team:  FFHA4 will combine efforts with the radiological facilities deployed with the ancillary team.  There will be technologist cross-coverage.  The staff radiologists will supervise and will be responsible for timely examination interpretation.

7.1.2. ATH/EMEDS/AFTH integration: The FFHA4 will deploy with an initial 30 day supply of medications and supplies, but for a sustained deployment will rely on resupply through the ATH/EMEDS/AFTH logistics system.  Laboratory, radiographic and pharmaceutical (medication storage, dispensing, and labeling) support will be required.

7.1.3. The FFHA4  AS provides for biohazard and sharp specimen collection.  Disposal will be required through the ATH/EMEDS/AFTH.

7.1.4.   Host base integration: The FFHA4 will rely on the host base for ECS, similar to the needs of the ATH/EMEDS/AFTH.

7.2.  Interoperability:  This function will be handled according to ATH/EMEDS/AFTH guidelines.  Coordination with local medical authorities may be required in order to evaluate and treat local citizens.  This will require approval of the ATH/EMEDS/AFTH commander.

## SECTION 8 - SECURITY

8.1.  Operations:  The FFHA4 will generally not be dealing with classified military information.  However, patient confidentiality must be maintained as much as possible in a field environment.  This will include appropriate storage of radiographic films, medical records, release of medical information on a "need to know" basis, minimizing transmission of patient information over LMRs, and appropriate control of access to computerized information (e.g., use of passwords).

8.2.  Physical:  As the FFHA4 is integrated into the ATH/EMEDS/AFTH, security needs will be comparable.

8.3.  Controlled Substances: Limited quantities of controlled substances will be maintained in the CT isoshelter in a locked cabinet per pharmacy protocol.

SECTION 9 - TRAINING

9.1.  Readiness training will be conducted IAW USAF and/or MAJCOM directives, and should occur in conjunction with ATH/EMEDS/AFTH training.

9.2. Joint annual training between the ATH/EMEDS/AFTH and other specialty modules would be optimal in order to maximize the integration of these interrelated functions.

9.3.  Mission-specific CMRT should occur at the local level of the base responsible for the FFHA4. The isoshelter module should be deployed  at the host MTF and a semihardened shelter should be provided.  Routine scanning and maintenance should be performed to reach maximum readiness.  The shelter should be easily deployable from its semihardened state.  Training exercises should include inventory, equipment-specific training and actual patient procedures when possible.  This measure will help assure that the FFHA4 is mission capable and ready for integration into the ATH/EMEDS/AFTH.

SECTION 10 - LOGISTICS

10.1.  Medical supplies and equipment required to operate the FFHA4 are listed in the AS.

10.2.  Logistic support will be required on site, especially during the deployment and redeployment phases.  This will include logistic personnel and forklift capability 22,000 lb. capacity.

10.3.  Medical equipment maintenance and repair will be carried out by biomedical equipment technicians (BMET) deployed with the team.  The FFHA4 is technologically complex, and requires technical personnel with modality-specific training.  This type of training should be obtained through the manufacturer as necessary.

SECTION 11 - SUMMARY

The Computed Tomography Augmentation Team is a military medical asset designed for worldwide deployment to support various medical contingencies.  It deploys to provide essential care at ATH/EMEDS/AFTHs (50 bed or greater augmented configuration) and is capable of supporting all surgical and medical specialties with state-of the art diagnostic imaging and emergent intervention.  Its development will drastically enhances the ability of the USAF to deliver exceptional care to patients during wartime scenarios and SSCs.

## GLOSSARY OF TERMS

Abbreviations			Definitions

ACLS				Advanced Cardiac Life Support

Angio/Fluoro  			Angiography and Fluoroscopy

AFTH				Air Force Theater Hospital

ATH 				Air Transportable Hospital

BMET				Biomedical Equipment Technician

CONOPS			Concept of Operations

US 				Ultrasound

CT 				Computed Tomography

EMEDS				Expeditionary Medical Support

FFHA4  				Computed Tomography Team

GE				General Electric (potential CT Vendor)

Picker				Potential CT vendor  (currently used by the Army)

MOOTW			Military Operations Other than War

SIMLM				Single Integrated Logistics Manager